## Slide 1
Evaluation of high-matrix size CT reconstructions in peripheral artery disease
IDS 702 Final Project
F. R. Schwartz

## Slide 2
Peripheral artery disease (PAD) is common and often requires medical intervention1,2
Radiology image quality often low
Could be improved with higher resolution3
1Bevan GH; Evidence-Based Medical Management of Peripheral Artery Disease. Arteriosclerosis, Thrombosis and Vascular Biology 2020
2Tanaka R; Novel developments in non-invasive imaging of peripheral arterial disease with CT; Clin Radiol 2019
3Tsubamoto M; Ultra high-resolution computed tomography with 1024-matrix; Eur J Radiol 2020
Introduction
Notes: Possible disease=renal masses and stones

## Slide 3
Examples
512x512
768x768
1024x1024
Femoral
Tibial
Notes: Mean scores for perceived wall delineation, image noise and reader confidence in determining grade of stenosis with 95% Confidence Intervals for femoro-popliteal (fem-pop) segments and for tibial segments; *statistically significantly improved over 512x512 matrix size, † p=0.05

## Slide 4
  Higher matrix sizes improve image quality over the current clinical standard of 512x512
  Intemediate matrix size might produce high enough image quality for clinical practice
Hypothesis

## Slide 5
  Improvement of discernability of the vessel wall and diagnostic confidence?
  Increase in perceived image noise?
  Improvement between higher matrices?
Questions of interest

## Slide 6
Methods

## Slide 7
50 consecutive lower extremity CTA
Recons at 512x512, 768x768 and 1024x1024 matrices
5 blinded readers graded 150 images in randomized order:
  Vascular wall definition
  Image noise
  Confidence in determination of stenosis grade
Data

## Slide 8
EDA
Notes: Reader 1,4 and 5 are diagnostic radiologists
Reader 2 is a vascular surgeon
Reader 3 is an interventional radiologist

## Slide 9
Testing:
  Regular linear model with reader and patient treated as factor variables
  Mixed linear effects model
    matrix size as fixed effect
    reader and patient as random effects
  Mixed linear effects model
    matrix size as fixed effect
    reader and patient as random effects
    random slopes for matrix by reader
Models

## Slide 10
Comparing models with Chi2 using AIC
  Standard linear model: 7718.8
  LMER without random slopes: 6931.4
  LMER with random slopes: 6943.2
Models
10.2%
0.2%
Notes: AIC is lower for the linear mixed effects model without (6931.4) and with random slopes (6943.2) for matrix by reader than for the standard linear model (7118.8). In addition to the AIC, the BIC is lower for the model without random slopes (6959.2) than for the one with random slopes (6998.6). Thus, random slopes will not be added to the final model (model 2).

## Slide 11
Results

## Slide 12
Predictions
Notes: AIC is lower for the linear mixed effects model without (6931.4) and with random slopes (6943.2) for matrix by reader than for the standard linear model (7118.8). In addition to the AIC, the BIC is lower for the model without random slopes (6959.2) than for the one with random slopes (6998.6). Thus, random slopes will not be added to the final model (model 2).

## Slide 13
Reader scores
 | 512x512 femoral | 768x768 femoral | 1024x1024 femoral | 512x512 tibial | 768x768 tibial | 1024x1024 tibial
Wall delineation | 78 [69-87] | 78 [69-87] | 83† [74-92] | 51 [41-61] | 59* [49-69] | 57* [47-67]
Image noise | 81 [71-91] | 81 [71-91] | 84 [74-93] | 65 [53-78] | 69 [56-82] | 68 [55-80]
Confidence stenosis grading | 76 [67-85] | 77 [68-86] | 81 [72-90] | 47 [38-57] | 56* [46-65] | 55* [45-65]
Notes: Mean scores for perceived wall delineation, image noise and reader confidence in determining grade of stenosis with 95% Confidence Intervals for femoro-popliteal (fem-pop) segments and for tibial segments; *statistically significantly improved over 512x512 matrix size, † p=0.05

## Slide 14
Recons at higher matrix sizes ranked significantly better for:
  Wall delineation
  Confidence in determination of stenosis grade
No significant difference for image noise
Results

## Slide 15
Discussion

## Slide 16
Single center
Limited number of patients
Limitations

## Slide 17
Higher matrix reconstructions improve image quality with
  Better wall delineation
  More confident assessment of PAD
Intermediate and highest matrix sizes received similar scores
Conclusions

## Slide 18
Thank you!
Fides.Schwartz@duke.edu